## Тревоги и события
Tip: address concatenation is [device name#register type#station number constant#block address#primary address. Subaddress], if there is no corresponding module will be automatically ignored. eg: DeviceN#DBn.DBD#1#5#5.2, LOCAL#LW#5 For the device tag and variable tag, address concatenation is [device name#register type#station number constant#block address#primary address. Subaddress#tag name].eg:Device2#BOOL#1#0#0.0#Start While the variable tag is array, its index value is placed at the primary address, eg:Device3#BYTE#1#0#99.0#RFIDData_4.arrTagIDBuffer
| Device Name | Device Full Name | Bit Address Type | Word Address Type
Device List | LOCAL | LOCAL: [внутренняя память] | LB, SRB | LW, RW, SRW
| Device1 | Device1:[Ethernet ПЛК:PRO-Logic EKF] | X, Y, M, T, C, SM, S | AI, AQ, V, TV, CV_16, SV, CV_32
$
| Basic Setting |  |  |  | Trigger condition 1 | [6 empty] | Trigger condition 2 | [6 empty] | Trigger condition 3 | [5 empty] | Voice |  |  | Other Languages | [5 empty] | Triggering Action | [10 empty] | Confirming Action | [10 empty] | Recovery Action | [10 empty] | Text Setting
No. | 1st Language Text | 2st Language Text | Group ID | Urgency Level | Address Type | Тип данных | Condition Address | Logic | Condition A | Condition B | Logic of Combination | Address Type | Тип данных | Condition Address | Logic | Condition A | Condition B | Logic of Combination | Address Type | Тип данных | Condition Address | Logic | Condition A | Condition B | Зуммер | Is Buzzer Timeout | Buzzer Timeout(s) | 3st Language Text | 4st Language Text | 5st Language Text | 6st Language Text | 7st Language Text | 8st Language Text | Trigger Macro | Notify Macro | ${res:Flexem.Studio.HMIConfiguration.AlertAndEvent_Export_PopWindows} | Popup Window | Notify Bit | Bit Address | Bit Value | Notify Word Address | Тип данных | Word Address | Word Value | Trigger Macro | Notify Macro | ${res:Flexem.Studio.HMIConfiguration.AlertAndEvent_Export_PopWindows} | Popup Window | Notify Bit | Bit Address | Bit Value | Notify Word Address | Тип данных | Word Address | Word Value | Trigger Macro | Notify Macro | ${res:Flexem.Studio.HMIConfiguration.AlertAndEvent_Export_PopWindows} | Popup Window | Notify Bit | Bit Address | Bit Value | Notify Word Address | Тип данных | Word Address | Word Value | Using a Text Library | Text library ID | Text Status ID | Language Independence | Background
1 | Отсутствует нижний аварийный уровень ОЗОН-10. |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#X#1#0#0.0 | OFF | [16 empty] | FALSE | TRUE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE
2 | Отсутствует нижний аварийный уровень СБО-10. |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#X#1#0#1.0 | OFF | [16 empty] | FALSE | FALSE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE
3 | Достигнут верхний аварийный уровень РЧВ. |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#X#1#0#2.0 | ON | [16 empty] | FALSE | FALSE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE
4 | Отсутствует нижний аварийный уровень РЧВ. |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#X#1#0#3.0 | OFF | [16 empty] | FALSE | FALSE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE
5 | Произведена аварийная остановка системы!!! |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#X#1#0#10.0 | ON | [16 empty] | FALSE | FALSE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE
6 | Авария!!! |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#Y#1#0#0.0 | ON | [16 empty] | TRUE | TRUE | 300 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE
7 | Аварии по ОС Н1.1! |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#M#1#0#0.0 | ON | [16 empty] | FALSE | FALSE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE
8 | Аварии по ОС Н2.1! |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#M#1#0#1.0 | ON | [16 empty] | FALSE | FALSE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE
9 | Аварии по ОС Н1.2! |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#M#1#0#2.0 | ON | [16 empty] | FALSE | FALSE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE
10 | Аварии по ОС Н2.2! |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#M#1#0#3.0 | ON | [16 empty] | FALSE | FALSE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE
11 | Аварии по ОС Нрчв1! |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#M#1#0#4.0 | ON | [16 empty] | FALSE | FALSE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE
12 | Аварии по ОС Нрчв2! |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#M#1#0#5.0 | ON | [16 empty] | FALSE | FALSE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE
13 | Аварии по ОС ВД1! |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#M#1#0#6.0 | ON | [16 empty] | FALSE | FALSE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE
14 | Аварии по ОС ВД2! |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#M#1#0#7.0 | ON | [16 empty] | FALSE | FALSE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE
15 | Аварии по ОС УОВ! |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#M#1#0#8.0 | ON | [16 empty] | FALSE | FALSE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE
16 | Аварии по ОС Н-Е1! |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#M#1#0#9.0 | ON | [16 empty] | FALSE | FALSE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE
17 | Аварии по ОС М-Е1! |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#M#1#0#10.0 | ON | [16 empty] | FALSE | FALSE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE
18 | Аварии по ОС Н-Е2! |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#M#1#0#11.0 | ON | [16 empty] | FALSE | FALSE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE
19 | Аварии по ОС М-Е2! |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#M#1#0#12.0 | ON | [16 empty] | FALSE | FALSE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE
20 | Аварии по ОС Н-Е3! |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#M#1#0#13.0 | ON | [16 empty] | FALSE | FALSE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE
21 | Аварии по ОС М-Е3! |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#M#1#0#14.0 | ON | [16 empty] | FALSE | FALSE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE
22 | Обрыв датчика PE-1! |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#M#1#0#15.0 | ON | [16 empty] | FALSE | FALSE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE
23 | Обрыв датчика PE-2! |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#M#1#0#16.0 | ON | [16 empty] | FALSE | FALSE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE
24 | Авария по превышению максимальной уставки давления PE-1! |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#M#1#0#104.0 | ON | [16 empty] | FALSE | FALSE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE
25 | Авария по непонижению давления PE-1 ниже минимальной уставки (При работе Нрчв1)! |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#M#1#0#105.0 | ON | [16 empty] | FALSE | FALSE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE
26 | Авария по непонижению давления PE-1 ниже минимальной уставки (При работе Нрчв2)! |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#M#1#0#107.0 | ON | [16 empty] | FALSE | FALSE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE
27 | Авария Нрчв1! |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#M#1#0#106.0 | ON | [16 empty] | FALSE | FALSE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE
28 | Авария Нрчв2! |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#M#1#0#108.0 | ON | [16 empty] | FALSE | FALSE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE
29 | Авария по превышению максимальной уставки давления PE-2! |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#M#1#0#115.0 | ON | [16 empty] | FALSE | FALSE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE
30 | Авария по непонижению давления PE-2 ниже минимальной уставки (При работе ВД1)! |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#M#1#0#116.0 | ON | [16 empty] | FALSE | FALSE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE
31 | Авария по непонижению давления PE-2 ниже минимальной уставки (При работе ВД2)! |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#M#1#0#118.0 | ON | [16 empty] | FALSE | FALSE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE
32 | Авария ВД1! |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#M#1#0#117.0 | ON | [16 empty] | FALSE | FALSE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE
33 | Авария ВД2! |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#M#1#0#119.0 | ON | [16 empty] | FALSE | FALSE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | 0 | TRUE