## Тревоги и события
Tip: address concatenation is [device name#register type#station number constant#block address#primary address. Subaddress], if there is no corresponding module will be automatically ignored. eg: DeviceN#DBn.DBD#1#5#5.2, LOCAL#LW#5 For the device tag and variable tag, address concatenation is [device name#register type#station number constant#block address#primary address. Subaddress#tag name].eg:Device2#BOOL#1#0#0.0#Start While the variable tag is array, its index value is placed at the primary address, eg:Device3#BYTE#1#0#99.0#RFIDData_4.arrTagIDBuffer
| Device Name | Device Full Name | Bit Address Type | Word Address Type
Device List | LOCAL | LOCAL: [внутренняя память] | LB, SRB | LW, RW, SRW
| Device1 | Device1:[Ethernet ПЛК:PRO-Logic EKF] | X, Y, M, T, C, SM, S | AI, AQ, V, TCV, CCV, SV
$
| Basic Setting |  |  |  | Trigger condition 1 | [6 empty] | Trigger condition 2 | [6 empty] | Trigger condition 3 | [5 empty] | Voice |  |  | Other Languages | [5 empty] | Triggering Action | [10 empty] | Confirming Action | [10 empty] | Recovery Action
No. | 1st Language Text | 2st Language Text | Group ID | Urgency Level | Address Type | Тип данных | Condition Address | Logic | Condition A | Condition B | Logic of Combination | Address Type | Тип данных | Condition Address | Logic | Condition A | Condition B | Logic of Combination | Address Type | Тип данных | Condition Address | Logic | Condition A | Condition B | Зуммер | Is Buzzer Timeout | Buzzer Timeout(s) | 3st Language Text | 4st Language Text | 5st Language Text | 6st Language Text | 7st Language Text | 8st Language Text | Trigger Macro | Notify Macro | ${res:Flexem.Studio.HMIConfiguration.AlertAndEvent_Export_PopWindows} | Popup Window | Notify Bit | Bit Address | Bit Value | Notify Word Address | Тип данных | Word Address | Word Value | Trigger Macro | Notify Macro | ${res:Flexem.Studio.HMIConfiguration.AlertAndEvent_Export_PopWindows} | Popup Window | Notify Bit | Bit Address | Bit Value | Notify Word Address | Тип данных | Word Address | Word Value | Trigger Macro | Notify Macro | ${res:Flexem.Studio.HMIConfiguration.AlertAndEvent_Export_PopWindows} | Popup Window | Notify Bit | Bit Address | Bit Value | Notify Word Address | Тип данных | Word Address | Word Value
1 | Наличие напряжения на вводе №1 |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#X#1#0#0.0 | ON | [16 empty] | FALSE | TRUE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0
2 | Отсутствие напряжения на вводе №1 |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#X#1#0#0.0 | OFF | [16 empty] | FALSE | TRUE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0
3 | Наличие напряжения на вводе №2 |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#X#1#0#1.0 | ON | [16 empty] | FALSE | TRUE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0
4 | Отсутствие напряжения на вводе №2 |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#X#1#0#1.0 | OFF | [16 empty] | FALSE | TRUE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0
3 | Наличие напряжения на вводе №3 |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#X#1#0#2.0 | ON | [16 empty] | FALSE | TRUE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0
4 | Отсутствие напряжения на вводе №3 |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#X#1#0#2.0 | OFF | [16 empty] | FALSE | TRUE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0
5 | Аппарат ввода №1 - включен |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#X#1#0#3.0 | ON | [16 empty] | FALSE | TRUE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0
6 | Аппарат ввода №1 - выключен |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#X#1#0#3.0 | OFF | [16 empty] | FALSE | TRUE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0
7 | Аппарат ввода №1 - нет аварии |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#X#1#0#4.0 | ON | [16 empty] | FALSE | TRUE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0
8 | Аппарат ввода №1 - авария |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#X#1#0#4.0 | OFF | [16 empty] | FALSE | TRUE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0
9 | Аппарат ввода №2 - включен |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#X#1#0#8.0 | ON | [16 empty] | FALSE | TRUE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0
11 | Аппарат ввода №2 - выключен |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#X#1#0#8.0 | OFF | [16 empty] | FALSE | TRUE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0
12 | Аппарат ввода №2 - нет аварии |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#X#1#0#9.0 | ON | [16 empty] | FALSE | TRUE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0
13 | Аппарат ввода №2 - авария |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#X#1#0#9.0 | OFF | [16 empty] | FALSE | TRUE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0
18 | Ручной режим работы АВР |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#X#1#0#13.0 | ON | [16 empty] | FALSE | TRUE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0
19 | Автоматический режим работы АВР |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#X#1#0#14.0 | ON | [16 empty] | FALSE | TRUE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0
20 | Аппарат ввода №3 - включен |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#X#1#0#10.0 | ON | [16 empty] | FALSE | TRUE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0
21 | Аппарат ввода №3 - выключен |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#X#1#0#10.0 | OFF | [16 empty] | FALSE | TRUE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0
22 | Аппарат ввода №3 - нет аварии |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#X#1#0#11.0 | ON | [16 empty] | FALSE | TRUE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0
23 | Аппарат ввода №3 - авария |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#X#1#0#11.0 | OFF | [16 empty] | FALSE | TRUE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0
24 | ДГУ готов принять нагрузку |  | 1 | HIGH_LEVEL | Bit | 16-bit Unsigned | Device1#X#1#0#12.0 | ON | [16 empty] | FALSE | TRUE | 10 | [6 empty] | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE | 00000000-0000-0000-0000-000000000000 | FALSE |  |  | FALSE |  |  | 0